## Cover & Instructions
AHQS LABORATORY INSPECTION READINESS TOOLKIT
Accelerate Healthcare Quality Solutions
Independent Healthcare Quality, Accreditation & Laboratory Excellence Support
══════════════════════════════════════════════════════════════════════════════════════════
PURPOSE
This toolkit provides laboratories with a structured, framework-driven approach to accreditation readiness. It follows the AHQS methodology: Assess → Prioritize → Improve → Sustain. Use it to identify gaps, track corrective actions, organize evidence, and demonstrate sustained compliance across ISO 15189, CAP, JCI, and AABB accreditation pathways.
THE AHQS FRAMEWORK
1. ASSESS
Evaluate current compliance against accreditation requirements. Score each area as Compliant, Partial, Non-Compliant, or Not Applicable.
2. PRIORITIZE
Identify gaps and assess risk using severity and likelihood scoring. Focus on high-risk areas first.
3. IMPROVE
Implement corrective and preventive actions. Track progress through the CAPA Action Plan.
4. SUSTAIN
Monitor ongoing compliance through internal audits, management review, and quality indicators.
HOW TO USE THIS TOOLKIT
1. Start with the Assessment Setup sheet — enter your organization details and target standard(s).
2. Complete the Master Audit Tool — score each requirement against your current state.
3. Review the Gap Register — gaps are identified based on your audit responses.
4. Use the CAPA Action Plan to track corrective actions for each identified gap.
5. Use the Evidence Tracker to organize documents, policies, and records for inspection.
6. Complete the Competency, Equipment, and Document Control trackers.
7. Review the Dashboard for a visual summary of your readiness status.
8. Use the Executive Summary for leadership briefings.
9. Conduct Internal Audits & Tracer walkthroughs to test readiness.
10. Review the Management Review & Sustain sheet to ensure ongoing compliance.
Compliant (Score: 1.0) — Full compliance demonstrated with documented evidence
Partial (Score: 0.5) — Partial compliance — some elements in place but gaps remain
Non-Compliant (Score: 0.0) — Requirement not met or no evidence available
Not Applicable (Score: N/A) — Requirement does not apply to the laboratory's scope
This toolkit supports readiness preparation and does not replace official accreditation standards, legal advice, or accrediting-body requirements. Accreditation and certification decisions remain with the applicable authorized organizations (ISO, CAP, JCI, AABB). All audit questions are general readiness prompts based on publicly available standard concepts — they do not reproduce proprietary standard text.
DISCLAIMER

## Executive Summary
EXECUTIVE SUMMARY
Laboratory Inspection Readiness — Leadership Overview
Organization: | 0
Laboratory/Site: | 0
Assessment Date: | 0
Target Standard(s): | ISO 15189 / CAP / JCI / AABB
KEY READINESS METRICS
Total Audit Items | 147
Compliant Items | 0
Partial Items | 0
Non-Compliant Items | 0
Not Applicable | 0
Pending Assessment | 147
OVERALL READINESS SCORE | 0%
READINESS STATUS | HIGH RISK
GAP SUMMARY
Total Gaps Identified: | 30
High-Risk Gaps: | 0
Overdue CAPAs: | 0
EXECUTIVE NARRATIVE
Complete the audit tool to generate readiness metrics automatically. The overall readiness score, gap count, and CAPA status will populate here based on the data entered in the Master Audit Tool and Gap Register.

## Dashboard
READINESS DASHBOARD
Compliance Status Distribution |  |  | Readiness by Domain
Status | Count | Percentage | Domain | Readiness %
Compliant | 0 | 0% | Quality Management System | 0%
Partial | 0 | 0% | Document Control | 0%
Non-Compliant | 0 | 0% | Personnel Competency | 0%
Not Applicable | 0 | 0% | Equipment & Instrumentation | 0%
Pending | 147 | 100% | Method Validation & Verification | 0%
|  |  | Sample Management | 0%
|  |  | Examination Procedures | 0%
|  |  | Quality Control | 0%
|  |  | External Quality Assessment (PT/EQA) | 0%
|  |  | Information Management (LIS) | 0%
|  |  | Facility & Safety | 0%
|  |  | Transfusion Medicine | 0%
|  |  | OVERALL | 0%
Gap Severity Distribution |  |  | CAPA Status Distribution
Severity | Count |  | CAPA Status | Count
Critical | 0 |  | Not Started | 0
High | 0 |  | In Progress | 0
Medium | 0 |  | Complete | 0
Low | 0 |  | Verified | 0
|  |  | Overdue | 0
Domain Risk Heatmap
Domain | Avg Risk Score
Quality Management System | 0
Document Control | 0
Personnel Competency | 0
Equipment & Instrumentation | 0
Method Validation & Verification | 0
Sample Management | 0
Examination Procedures | 0
Quality Control | 0
External Quality Assessment (PT/EQA) | 0
Information Management (LIS) | 0
Facility & Safety | 0
Transfusion Medicine | 0
Domain Risk Heatmap
Domain | Avg Risk Score
Quality Management System | 0
Document Control | 0
Personnel Competency | 0
Equipment & Instrumentation | 0
Method Validation & Verification | 0
Sample Management | 0
Examination Procedures | 0
Quality Control | 0
External Quality Assessment (PT/EQA) | 0
Information Management (LIS) | 0
Facility & Safety | 0
Transfusion Medicine | 0

## Assessment Setup
ASSESSMENT SETUP
Field | Value
Organization Name
Laboratory / Site Name
Laboratory Director
Quality Manager
Assessment Date
Assessor Name
Target Accreditation Standard(s) | ISO 15189 / CAP / JCI / AABB
Laboratory Scope
Number of Staff
Number of Departments/Sections
Previous Accreditation Date
Next Survey Date
DOMAIN WEIGHTS (for weighted readiness score)
Domain | Weight (%)
Quality Management System | 8.3
Document Control | 8.3
Personnel Competency | 8.3
Equipment & Instrumentation | 8.3
Method Validation & Verification | 8.3
Sample Management | 8.3
Examination Procedures | 8.3
Quality Control | 8.3
External Quality Assessment (PT/EQA) | 8.3
Information Management (LIS) | 8.3
Facility & Safety | 8.3
Transfusion Medicine | 8.3
TOTAL | 99.6

## Master Audit Tool
MASTER AUDIT TOOL — COMPLIANCE ASSESSMENT
Gap ID | Phase | Domain | Requirement Area | Audit Question | Applicable Standard(s) | Evidence Expected | Status | Score | Severity | Likelihood | Risk Score | Owner | Due Date | Notes
GAP-001 | Assess | Quality Management System | QMS Design | Is there a documented quality management system (QMS) covering all laboratory activities? | ISO 15189, CAP, JCI | Quality manual, QMS policy documents
GAP-002 | Assess | Quality Management System | Quality Policy | Is there a quality policy signed by laboratory leadership and communicated to all staff? | ISO 15189, CAP, JCI | Signed quality policy document
GAP-003 | Assess | Quality Management System | Quality Objectives | Are measurable quality objectives established, monitored, and reviewed at defined intervals? | ISO 15189, CAP | Quality objectives document with KPIs
GAP-004 | Assess | Quality Management System | Organizational Structure | Is the laboratory organizational structure defined with clear roles and responsibilities? | ISO 15189, CAP, JCI | Organizational chart, job descriptions
GAP-005 | Assess | Quality Management System | Leadership Commitment | Is there evidence of leadership commitment to quality (resource allocation, management engagement)? | ISO 15189, CAP, JCI | Management meeting minutes, resource allocation records
GAP-006 | Assess | Quality Management System | QMS Scope | Does the QMS scope cover all laboratory activities including point-of-care testing if applicable? | ISO 15189, CAP | Scope statement in quality manual
GAP-007 | Assess | Quality Management System | Continual Improvement | Is there a documented process for continual improvement of the QMS? | ISO 15189, CAP | Improvement process procedure, improvement log
GAP-008 | Assess | Quality Management System | Risk Management | Is there a documented risk management process integrated into QMS activities? | ISO 15189, CAP, JCI | Risk management procedure, risk register
GAP-009 | Assess | Quality Management System | Ethical Conduct | Is there a documented code of conduct or ethics policy for laboratory personnel? | ISO 15189, JCI | Code of conduct document
GAP-010 | Assess | Quality Management System | Conflict of Interest | Are conflict of interest declarations maintained for all laboratory personnel? | ISO 15189, CAP | Conflict of interest declarations
GAP-011 | Assess | Document Control | SOP Management | Are all laboratory procedures documented in controlled SOPs with version control? | ISO 15189, CAP, JCI, AABB | SOP register, version-controlled documents
GAP-012 | Assess | Document Control | Document Approval | Are documents reviewed and approved by authorized personnel before implementation? | ISO 15189, CAP | Approval signatures, document control log
GAP-013 | Assess | Document Control | Document Review | Are SOPs reviewed at defined intervals (typically annually) and updated when needed? | ISO 15189, CAP | Document review schedule and records
GAP-014 | Assess | Document Control | Obsolete Documents | Are obsolete documents removed from points of use or clearly marked as obsolete? | ISO 15189, CAP, JCI | Obsolete document control records
GAP-015 | Assess | Document Control | External Documents | Are external documents (standards, manufacturer instructions) controlled and current? | ISO 15189, CAP | External document register
GAP-016 | Assess | Document Control | Document Distribution | Is there a system to ensure only current versions of documents are available at point of use? | ISO 15189, CAP | Document distribution list, master copy register
GAP-017 | Assess | Document Control | Handwritten Records | Are handwritten records controlled (e.g., lab notebooks, logbooks) and retained? | ISO 15189, CAP | Record retention policy, logbook register
GAP-018 | Assess | Document Control | Electronic Records | Are electronic records backed up, access-controlled, and protected from unauthorized changes? | ISO 15189, CAP | Backup procedures, access control logs
GAP-019 | Assess | Personnel Competency | Job Descriptions | Does each staff member have a current job description defining qualifications and responsibilities? | ISO 15189, CAP, JCI | Job descriptions on file
GAP-020 | Assess | Personnel Competency | Qualifications | Are personnel qualifications verified and documented (education, licenses, certifications)? | ISO 15189, CAP, AABB | Personnel files with qualification records
GAP-021 | Assess | Personnel Competency | Training Records | Are training records maintained for all laboratory staff (orientation, ongoing)? | ISO 15189, CAP, JCI | Training logs, competency assessment records
GAP-022 | Assess | Personnel Competency | Competency Assessment | Is competency assessed for all testing personnel at defined intervals (initial and ongoing)? | ISO 15189, CAP, AABB | Competency assessment forms, direct observation records
GAP-023 | Assess | Personnel Competency | Continuing Education | Is continuing education documented and tracked for all staff? | ISO 15189, CAP | CE records, training logs
GAP-024 | Assess | Personnel Competency | Staff Authorization | Are staff formally authorized to perform specific tasks/tests? | ISO 15189, CAP | Authorization records, signature logs
GAP-025 | Assess | Personnel Competency | Performance Evaluation | Are annual performance evaluations conducted and documented for all staff? | ISO 15189, JCI | Performance evaluation records
GAP-026 | Assess | Personnel Competency | Access Control | Is access to laboratory areas and systems controlled based on role and training? | ISO 15189, CAP, JCI | Access control policy, access logs
GAP-027 | Assess | Personnel Competency | Cross-Training | Is cross-training documented for personnel performing multiple roles or sections? | ISO 15189, CAP | Cross-training records
GAP-028 | Assess | Personnel Competency | Temporary/Contract Staff | Are temporary and contract staff qualified, trained, and competency-assessed? | ISO 15189, CAP, JCI | Contract staff qualification and training records
GAP-029 | Assess | Equipment & Instrumentation | Equipment Inventory | Is there a complete inventory of all laboratory equipment? | ISO 15189, CAP, JCI | Equipment register
GAP-030 | Assess | Equipment & Instrumentation | Calibration Records | Are equipment calibration records maintained and current? | ISO 15189, CAP | Calibration certificates, logs
GAP-031 | Assess | Equipment & Instrumentation | Maintenance Records | Are preventive maintenance records documented for all equipment? | ISO 15189, CAP | Maintenance logs, service records
GAP-032 | Assess | Equipment & Instrumentation | Equipment Validation | Has equipment been validated/verified before use (IQ/OQ/PQ)? | ISO 15189, CAP | Installation/operational/performance qualification records
GAP-033 | Assess | Equipment & Instrumentation | Temperature Monitoring | Are refrigerators, freezers, and incubators temperature-monitored with records? | ISO 15189, CAP, AABB | Temperature logs, alarm records
GAP-034 | Assess | Equipment & Instrumentation | Equipment Labeling | Is equipment clearly labeled with calibration status and next due date? | ISO 15189, CAP | Equipment labels with calibration status
GAP-035 | Assess | Equipment & Instrumentation | Backup Equipment | Is there backup equipment available for critical analyzers? | ISO 15189, CAP | Backup equipment inventory
GAP-036 | Assess | Equipment & Instrumentation | Equipment Decommissioning | Is there a process for decommissioning equipment including data removal? | ISO 15189, CAP | Decommissioning records
GAP-037 | Assess | Method Validation & Verification | Method Validation | Are analytical methods validated before clinical use? | ISO 15189, CAP | Validation reports, validation protocols
GAP-038 | Assess | Method Validation & Verification | Verification Records | Are verification studies documented for commercially available methods? | ISO 15189, CAP | Verification reports
GAP-039 | Assess | Method Validation & Verification | Reference Ranges | Are reference ranges established or verified for the patient population? | ISO 15189, CAP | Reference range studies
GAP-040 | Assess | Method Validation & Verification | Analytical Performance | Are precision, accuracy, and linearity documented for each method? | ISO 15189, CAP | Performance verification data
GAP-041 | Assess | Method Validation & Verification | Interference Studies | Are interference studies documented where applicable? | ISO 15189, CAP | Interference study reports
GAP-042 | Assess | Method Validation & Verification | Reportable Range | Is the reportable range verified and documented for each method? | ISO 15189, CAP | Reportable range verification records
GAP-043 | Assess | Method Validation & Verification | Method Comparison | When methods change, is method comparison documented? | ISO 15189, CAP | Method comparison studies
GAP-044 | Assess | Sample Management | Sample Identification | Is there a sample identification system ensuring positive identification throughout the process? | ISO 15189, CAP, JCI, AABB | Sample labeling policy, procedure
GAP-045 | Assess | Sample Management | Sample Reception | Are sample reception criteria defined and documented? | ISO 15189, CAP | Sample rejection logs, reception criteria
GAP-046 | Assess | Sample Management | Sample Storage | Are sample storage conditions defined and monitored? | ISO 15189, CAP, AABB | Storage temperature records
GAP-047 | Assess | Sample Management | Sample Disposal | Is sample disposal documented and compliant with regulations? | ISO 15189, CAP | Disposal records
GAP-048 | Assess | Sample Management | Sample Transport | Are sample transport conditions defined and monitored (temperature, time)? | ISO 15189, CAP | Transport temperature logs, courier agreements
GAP-049 | Assess | Sample Management | Sample Rejection | Are sample rejection criteria documented and rejection logs maintained? | ISO 15189, CAP | Sample rejection logs
GAP-050 | Assess | Sample Management | Chain of Custody | Is chain of custody maintained for legal/sensitive samples? | ISO 15189, CAP | Chain of custody records
GAP-051 | Assess | Examination Procedures | Procedure Manuals | Are procedure manuals available and current for all tests? | ISO 15189, CAP | Procedure manuals with review dates
GAP-052 | Assess | Examination Procedures | Procedure Review | Are procedures reviewed annually and updated? | ISO 15189, CAP | Annual review signatures
GAP-053 | Assess | Examination Procedures | Critical Values | Are critical value lists established, documented, and reviewed? | ISO 15189, CAP, JCI | Critical value list with review dates
GAP-054 | Assess | Examination Procedures | Test Menu | Is the test menu documented and current? | ISO 15189, CAP | Test menu document
GAP-055 | Assess | Examination Procedures | Reflex Testing | Are reflex testing rules defined and documented? | ISO 15189, CAP | Reflex testing protocol
GAP-056 | Assess | Examination Procedures | Reference Intervals Review | Are reference intervals reviewed periodically? | ISO 15189, CAP | Reference interval review records
GAP-057 | Assess | Quality Control | QC Program | Is a quality control program implemented for all analytical tests? | ISO 15189, CAP, AABB | QC charts, Westgard rules application
GAP-058 | Assess | Quality Control | QC Review | Are QC results reviewed daily by authorized personnel? | ISO 15189, CAP | QC review logs
GAP-059 | Assess | Quality Control | Out-of-Control Actions | Are out-of-control situations documented with corrective actions? | ISO 15189, CAP | Corrective action records for QC failures
GAP-060 | Assess | Quality Control | QC Material Storage | Are QC materials stored and handled according to manufacturer instructions? | ISO 15189, CAP | Storage records, handling logs
GAP-061 | Assess | Quality Control | QC Levels | Are appropriate QC levels run per run (minimum two levels)? | ISO 15189, CAP | QC records showing two-level runs
GAP-062 | Assess | Quality Control | QC Target Verification | Are QC target ranges verified or established using acceptable methodology? | ISO 15189, CAP | QC target verification records
GAP-063 | Assess | Quality Control | Batch Review | Are QC results reviewed before releasing patient results? | ISO 15189, CAP | Batch review logs
GAP-064 | Assess | External Quality Assessment (PT/EQA) | PT Enrollment | Is the laboratory enrolled in proficiency testing for all applicable tests? | ISO 15189, CAP, AABB | PT enrollment confirmation
GAP-065 | Assess | External Quality Assessment (PT/EQA) | PT Results Review | Are PT results reviewed and documented by the laboratory director? | ISO 15189, CAP | PT result review records
GAP-066 | Assess | External Quality Assessment (PT/EQA) | PT Failures | Are PT failures investigated with root cause analysis and corrective actions? | ISO 15189, CAP | PT failure investigation records
GAP-067 | Assess | External Quality Assessment (PT/EQA) | PT Frequency | Is PT performed at the required frequency for all analytes? | ISO 15189, CAP | PT schedule and records
GAP-068 | Assess | External Quality Assessment (PT/EQA) | Alternative Assessment | For tests without formal PT, is alternative assessment documented? | ISO 15189, CAP | Alternative assessment records
GAP-069 | Assess | External Quality Assessment (PT/EQA) | PT Specimen Handling | Are PT specimens handled and tested the same as patient samples? | ISO 15189, CAP | PT handling procedure, records
GAP-070 | Assess | Information Management (LIS) | LIS Validation | Has the Laboratory Information System been validated for all functions? | ISO 15189, CAP | LIS validation records
GAP-071 | Assess | Information Management (LIS) | Data Integrity | Are there procedures to ensure data integrity (access control, backup, audit trail)? | ISO 15189, CAP | Access control policy, backup records
GAP-072 | Assess | Information Management (LIS) | Report Delivery | Are critical values reported and documented according to policy? | ISO 15189, CAP, JCI | Critical value call logs
GAP-073 | Assess | Information Management (LIS) | Result Reporting | Are test results reported accurately and within established turnaround times? | ISO 15189, CAP | TAT reports, result delivery logs
GAP-074 | Assess | Information Management (LIS) | Auto-Verification | If auto-verification is used, are rules validated and documented? | ISO 15189, CAP | Auto-verification rules and validation records
GAP-075 | Assess | Information Management (LIS) | System Downtime | Is there a documented downtime procedure for LIS failures? | ISO 15189, CAP | Downtime procedure, downtime logs
GAP-076 | Assess | Information Management (LIS) | Report Format | Do laboratory reports contain all required elements (patient info, test, result, reference range, date)? | ISO 15189, CAP, JCI | Sample reports with all required elements
GAP-077 | Assess | Facility & Safety | Safety Manual | Is there a laboratory safety manual covering chemical, biological, and physical hazards? | ISO 15189, CAP, JCI | Safety manual
GAP-078 | Assess | Facility & Safety | Safety Training | Is safety training documented for all staff (initial and ongoing)? | ISO 15189, CAP, JCI | Safety training records
GAP-079 | Assess | Facility & Safety | Waste Management | Is laboratory waste managed according to regulations (biohazardous, chemical, sharps)? | ISO 15189, CAP | Waste disposal records
GAP-080 | Assess | Facility & Safety | PPE Availability | Is PPE available and used appropriately by all staff? | ISO 15189, CAP, JCI | PPE inventory, usage observations
GAP-081 | Assess | Facility & Safety | Chemical Inventory | Is there a chemical inventory with SDS available? | ISO 15189, CAP, JCI | Chemical inventory, SDS files
GAP-082 | Assess | Facility & Safety | Emergency Procedures | Are emergency procedures documented and posted (fire, spill, exposure)? | ISO 15189, CAP, JCI | Emergency procedures, posted instructions
GAP-083 | Assess | Facility & Safety | Exposure Control | Is there an exposure control plan for bloodborne pathogens? | ISO 15189, CAP, JCI | Exposure control plan, exposure logs
GAP-084 | Assess | Facility & Safety | Facility Conditions | Is the laboratory space adequate for the work performed (ventilation, lighting, space)? | ISO 15189, CAP, JCI | Facility inspection records
GAP-085 | Assess | Transfusion Medicine | Blood Bank Procedures | Are blood bank procedures documented and current? | AABB, ISO 15189, CAP | Blood bank procedure manual
GAP-086 | Assess | Transfusion Medicine | Transfusion Records | Are transfusion records complete and traceable from donor to recipient? | AABB, JCI | Transfusion records, consent forms
GAP-087 | Assess | Transfusion Medicine | Blood Product Storage | Are blood products stored and monitored according to standards? | AABB | Temperature monitoring records
GAP-088 | Assess | Transfusion Medicine | Crossmatch Procedures | Are crossmatch procedures documented and validated? | AABB, CAP | Crossmatch procedure, validation records
GAP-089 | Assess | Transfusion Medicine | Antibody Identification | Are antibody identification procedures documented and current? | AABB, CAP | Antibody ID procedure
GAP-090 | Assess | Transfusion Medicine | Adverse Transfusion Reactions | Are adverse transfusion reactions documented and investigated? | AABB, JCI | Adverse reaction records, investigation reports
GAP-091 | Assess | Transfusion Medicine | Blood Product Dispensing | Is there a documented process for blood product dispensing and administration? | AABB, JCI | Dispensing records, administration logs
GAP-092 | Assess | CAPA & Root Cause Analysis | CAPA System | Is there a documented CAPA system for managing nonconformities? | ISO 15189, CAP, JCI | CAPA procedure, CAPA log
GAP-093 | Assess | CAPA & Root Cause Analysis | Root Cause Analysis | Are root cause analyses conducted for significant nonconformities? | ISO 15189, CAP | RCA documentation
GAP-094 | Assess | CAPA & Root Cause Analysis | CAPA Effectiveness | Are corrective actions verified for effectiveness before closure? | ISO 15189, CAP | Effectiveness check records
GAP-095 | Assess | CAPA & Root Cause Analysis | Nonconformity Register | Is there a nonconformity register tracking all identified nonconformities? | ISO 15189, CAP | Nonconformity register/log
GAP-096 | Assess | CAPA & Root Cause Analysis | Trend Analysis | Is trend analysis performed on nonconformities and CAPAs? | ISO 15189, CAP | Trend analysis reports
GAP-097 | Assess | CAPA & Root Cause Analysis | Preventive Actions | Are preventive actions identified and implemented proactively? | ISO 15189, CAP | Preventive action records
GAP-098 | Assess | Internal Audit | Audit Schedule | Is there an internal audit schedule covering all laboratory areas? | ISO 15189, CAP | Annual audit schedule
GAP-099 | Assess | Internal Audit | Audit Reports | Are internal audit findings documented and communicated to management? | ISO 15189, CAP | Audit reports
GAP-100 | Assess | Internal Audit | Audit Follow-up | Are audit findings followed up and closed within defined timeframes? | ISO 15189, CAP | Audit follow-up records
GAP-101 | Assess | Internal Audit | Auditor Qualification | Are internal auditors trained and qualified? | ISO 15189, CAP | Auditor training records
GAP-102 | Assess | Internal Audit | Audit Independence | Are auditors independent of the area being audited? | ISO 15189, CAP | Audit assignment records
GAP-103 | Assess | Internal Audit | Tracer Audits | Are tracer-style audits conducted (following a sample through the entire process)? | ISO 15189, CAP, JCI | Tracer audit records
GAP-104 | Assess | Management Review | Review Schedule | Are management reviews conducted at defined intervals (typically annually)? | ISO 15189, CAP | Management review schedule
GAP-105 | Assess | Management Review | Review Input | Are management review inputs documented (audit results, KPIs, CAPA, complaints, PT)? | ISO 15189, CAP | Management review meeting minutes
GAP-106 | Assess | Management Review | Review Output | Are management review outputs (actions, decisions, improvements) documented and tracked? | ISO 15189, CAP | Management review output records
GAP-107 | Assess | Management Review | Action Follow-up | Are management review actions followed up and completed? | ISO 15189, CAP | Action tracking records
GAP-108 | Assess | Management Review | Review Attendance | Is attendance at management reviews documented (appropriate leadership present)? | ISO 15189, CAP | Attendance records
GAP-109 | Assess | Pre-analytical Phase | Test Ordering | Are test ordering procedures documented and communicated to clinical staff? | ISO 15189, CAP, JCI | Test ordering procedure
GAP-110 | Assess | Pre-analytical Phase | Patient Preparation | Are patient preparation instructions documented and available? | ISO 15189, CAP | Patient preparation guidelines
GAP-111 | Assess | Pre-analytical Phase | Sample Collection | Are sample collection procedures documented (including patient identification)? | ISO 15189, CAP, JCI | Sample collection procedure
GAP-112 | Assess | Pre-analytical Phase | Sample Labeling | Is sample labeling verified at collection point (two patient identifiers)? | ISO 15189, CAP, JCI | Labeling verification records
GAP-113 | Assess | Pre-analytical Phase | Order Entry | Is order entry verified for accuracy (correct patient, test, priority)? | ISO 15189, CAP | Order entry verification records
GAP-114 | Assess | Analytical Phase | Run Logs | Are run logs maintained for all analytical runs? | ISO 15189, CAP | Run logs, QC records
GAP-115 | Assess | Analytical Phase | Instrument Checks | Are daily instrument checks/calibrations documented? | ISO 15189, CAP | Daily instrument check logs
GAP-116 | Assess | Analytical Phase | Reagent Management | Are reagents stored, managed, and tracked (lot numbers, expiration)? | ISO 15189, CAP | Reagent inventory, lot tracking
GAP-117 | Assess | Analytical Phase | Interference Checking | Are known interferences documented and checked? | ISO 15189, CAP | Interference documentation
GAP-118 | Assess | Analytical Phase | Delta Check | Are delta check rules implemented for critical tests? | ISO 15189, CAP | Delta check procedure and records
GAP-119 | Assess | Post-analytical Phase | Turnaround Time | Is turnaround time monitored and documented for all tests? | ISO 15189, CAP | TAT reports
GAP-120 | Assess | Post-analytical Phase | Critical Values Reporting | Are critical values reported within established timeframes and documented? | ISO 15189, CAP, JCI | Critical value call logs
GAP-121 | Assess | Post-analytical Phase | Result Review | Are results reviewed by authorized personnel before release? | ISO 15189, CAP | Result review records
GAP-122 | Assess | Post-analytical Phase | Corrected Reports | Are corrected/amended reports documented and tracked? | ISO 15189, CAP | Corrected report log
GAP-123 | Assess | Post-analytical Phase | Result Retention | Are results retained for the required period according to policy? | ISO 15189, CAP | Record retention policy and compliance
GAP-124 | Assess | Report & Records | Report Content | Do laboratory reports contain all required information (patient, test, result, units, reference range, date, methodology)? | ISO 15189, CAP, JCI | Sample reports
GAP-125 | Assess | Report & Records | Record Retention | Is there a record retention policy defining retention periods for all record types? | ISO 15189, CAP | Record retention policy
GAP-126 | Assess | Report & Records | Report Delivery | Are reports delivered through approved channels (electronic, paper)? | ISO 15189, CAP, JCI | Report delivery procedure
GAP-127 | Assess | Report & Records | Amendment Records | Are report amendments documented with reason and authorization? | ISO 15189, CAP | Amendment log
GAP-128 | Assess | Ethics & Confidentiality | Patient Confidentiality | Are patient confidentiality procedures in place and communicated? | ISO 15189, CAP, JCI | Confidentiality policy
GAP-129 | Assess | Ethics & Confidentiality | Informed Consent | Are informed consent procedures documented for relevant tests? | ISO 15189, JCI | Consent forms and procedures
GAP-130 | Assess | Ethics & Confidentiality | Data Protection | Is patient data protected in accordance with applicable privacy regulations? | ISO 15189, CAP, JCI | Data protection policy, access logs
GAP-131 | Assess | Ethics & Confidentiality | Conflict of Interest | Are conflict of interest policies in place for laboratory personnel? | ISO 15189, CAP | Conflict of interest policy
GAP-132 | Assess | Risk Management | Risk Assessment | Is there a documented risk assessment for all laboratory processes? | ISO 15189, CAP, JCI | Risk assessment documents
GAP-133 | Assess | Risk Management | Risk Register | Is a risk register maintained and updated? | ISO 15189, CAP | Risk register
GAP-134 | Assess | Risk Management | Risk Review | Are risks reviewed at defined intervals and after incidents? | ISO 15189, CAP | Risk review records
GAP-135 | Assess | Risk Management | Emergency Preparedness | Is there an emergency preparedness plan for laboratory operations? | ISO 15189, CAP, JCI | Emergency plan, drill records
GAP-136 | Assess | Risk Management | Business Continuity | Is there a business continuity plan for laboratory services? | ISO 15189, CAP | Business continuity plan
GAP-137 | Assess | Point-of-Care Testing (POCT) | POCT Policy | Is there a documented POCT program with oversight? | ISO 15189, CAP, JCI | POCT policy, oversight committee minutes
GAP-138 | Assess | Point-of-Care Testing (POCT) | POCT Training | Are POCT operators trained and competency-assessed? | ISO 15189, CAP, JCI | Training records, competency assessments
GAP-139 | Assess | Point-of-Care Testing (POCT) | POCT QC | Is QC performed and documented for all POCT devices? | ISO 15189, CAP | POCT QC records
GAP-140 | Assess | Point-of-Care Testing (POCT) | POCT Device Management | Are POCT devices inventoried, calibrated, and maintained? | ISO 15189, CAP | Device inventory, maintenance records
GAP-141 | Assess | Infection Control | Infection Control Plan | Is there an infection control plan for the laboratory? | ISO 15189, CAP, JCI | Infection control plan
GAP-142 | Assess | Infection Control | Hand Hygiene | Is hand hygiene compliance monitored and documented? | ISO 15189, CAP, JCI | Hand hygiene audit records
GAP-143 | Assess | Infection Control | Decontamination | Are decontamination procedures documented for equipment and surfaces? | ISO 15189, CAP | Decontamination procedure and records
GAP-144 | Assess | Infection Control | Sharps Management | Is sharps disposal managed according to regulations? | ISO 15189, CAP, JCI | Sharps disposal records
GAP-145 | Assess | Outreach & Customer Service | Client Communication | Is there a process for communicating with laboratory clients (clinicians, patients)? | ISO 15189, CAP | Client communication procedure
GAP-146 | Assess | Outreach & Customer Service | Complaint Management | Is there a documented complaint management process? | ISO 15189, CAP, JCI | Complaint log, procedure
GAP-147 | Assess | Outreach & Customer Service | Client Satisfaction | Is client satisfaction monitored and reviewed? | ISO 15189, CAP | Client satisfaction survey results
SUMMARY
Total Items: | 147
Compliant: | 0
Partial: | 0
Non-Compliant: | 0
Overall Readiness %:

## Gap Register
GAP REGISTER
Gap ID | Source Audit Item | Domain | Gap Description | Evidence Missing | Severity | Likelihood | Risk Priority | Immediate Containment | Owner | Target Date | Status
GAP-001
GAP-002
GAP-003
GAP-004
GAP-005
GAP-006
GAP-007
GAP-008
GAP-009
GAP-010
GAP-011
GAP-012
GAP-013
GAP-014
GAP-015
GAP-016
GAP-017
GAP-018
GAP-019
GAP-020
GAP-021
GAP-022
GAP-023
GAP-024
GAP-025
GAP-026
GAP-027
GAP-028
GAP-029
GAP-030
GAP-031
GAP-032
GAP-033
GAP-034
GAP-035
GAP-036
GAP-037
GAP-038
GAP-039
GAP-040
GAP-041
GAP-042
GAP-043
GAP-044
GAP-045
GAP-046
GAP-047
GAP-048
GAP-049
GAP-050

## CAPA Action Plan
CAPA ACTION PLAN — CORRECTIVE & PREVENTIVE ACTIONS
CAPA ID | Gap ID | Domain | Nonconformity Description | Root Cause | Corrective Action | Preventive Action | Owner | Target Date | Status | Overdue? | Effectiveness Check | Verification Date | Notes
CAPA-001
CAPA-002
CAPA-003
CAPA-004
CAPA-005
CAPA-006
CAPA-007
CAPA-008
CAPA-009
CAPA-010
CAPA-011
CAPA-012
CAPA-013
CAPA-014
CAPA-015
CAPA-016
CAPA-017
CAPA-018
CAPA-019
CAPA-020
CAPA-021
CAPA-022
CAPA-023
CAPA-024
CAPA-025
CAPA-026
CAPA-027
CAPA-028
CAPA-029
CAPA-030
CAPA-031
CAPA-032
CAPA-033
CAPA-034
CAPA-035
CAPA-036
CAPA-037
CAPA-038
CAPA-039
CAPA-040
CAPA-041
CAPA-042
CAPA-043
CAPA-044
CAPA-045
CAPA-046
CAPA-047
CAPA-048
CAPA-049
CAPA-050
Formulas:
Overdue? = IF(AND([Target Date]<>"",[Status]<>"",[Status]<>"Complete",[Status]<>"Verified",[Target Date]<TODAY()),"OVERDUE","")

## Evidence Tracker
EVIDENCE TRACKER — DOCUMENT & RECORD INVENTORY
Evidence ID | Evidence Item | Domain | Related Standard | Location/Link | Owner | Status | Last Reviewed | Notes
EV-001
EV-002
EV-003
EV-004
EV-005
EV-006
EV-007
EV-008
EV-009
EV-010
EV-011
EV-012
EV-013
EV-014
EV-015
EV-016
EV-017
EV-018
EV-019
EV-020
EV-021
EV-022
EV-023
EV-024
EV-025
EV-026
EV-027
EV-028
EV-029
EV-030
EV-031
EV-032
EV-033
EV-034
EV-035
EV-036
EV-037
EV-038
EV-039
EV-040
EV-041
EV-042
EV-043
EV-044
EV-045
EV-046
EV-047
EV-048
EV-049
EV-050
EV-051
EV-052
EV-053
EV-054
EV-055
EV-056
EV-057
EV-058
EV-059
EV-060

## Competency & Training
COMPETENCY & TRAINING TRACKER
Staff ID | Name | Role/Title | Section/Department | Qualification | Initial Competency | Annual Competency | Direct Observation | Continuing Education (hrs) | Status | Notes
STAFF-001
STAFF-002
STAFF-003
STAFF-004
STAFF-005
STAFF-006
STAFF-007
STAFF-008
STAFF-009
STAFF-010
STAFF-011
STAFF-012
STAFF-013
STAFF-014
STAFF-015
STAFF-016
STAFF-017
STAFF-018
STAFF-019
STAFF-020
STAFF-021
STAFF-022
STAFF-023
STAFF-024
STAFF-025

## Equipment, QC & PT
EQUIPMENT, QC & PROFICIENCY TESTING TRACKER
Equipment ID | Equipment Name | Serial Number | Section/Department | Calibration Due | Maintenance Due | QC Daily Review | PT/EQA Provider | PT Status | Last PT Date | PT Result | Notes
EQ-001
EQ-002
EQ-003
EQ-004
EQ-005
EQ-006
EQ-007
EQ-008
EQ-009
EQ-010
EQ-011
EQ-012
EQ-013
EQ-014
EQ-015
EQ-016
EQ-017
EQ-018
EQ-019
EQ-020
EQ-021
EQ-022
EQ-023
EQ-024
EQ-025
EQ-026
EQ-027
EQ-028
EQ-029
EQ-030

## Document Control
DOCUMENT CONTROL REGISTER
Document ID | Document Title | Type | Version | Section/Department | Author | Approved By | Review Date | Status | Notes
DOC-001
DOC-002
DOC-003
DOC-004
DOC-005
DOC-006
DOC-007
DOC-008
DOC-009
DOC-010
DOC-011
DOC-012
DOC-013
DOC-014
DOC-015
DOC-016
DOC-017
DOC-018
DOC-019
DOC-020
DOC-021
DOC-022
DOC-023
DOC-024
DOC-025
DOC-026
DOC-027
DOC-028
DOC-029
DOC-030
DOC-031
DOC-032
DOC-033
DOC-034
DOC-035
DOC-036
DOC-037
DOC-038
DOC-039
DOC-040

## Internal Audit & Tracer
INTERNAL AUDIT & TRACER PLAN
Audit ID | Audit Date | Area/Process | Auditor | Documents Sampled | Staff Interviewed | Findings | Risk Level | Action Required | Follow-up Date | Notes
IA-001
IA-002
IA-003
IA-004
IA-005
IA-006
IA-007
IA-008
IA-009
IA-010
IA-011
IA-012
IA-013
IA-014
IA-015
IA-016
IA-017
IA-018
IA-019
IA-020
IA-021
IA-022
IA-023
IA-024
IA-025

## Mgmt Review & Sustain
MANAGEMENT REVIEW & SUSTAIN TRACKER
MANAGEMENT REVIEW AGENDA ITEMS
Item | Review Topic | Input Required | Responsible | Status | Actions/Decisions | Follow-up Date
MR-001 | Audit results (internal & external) | Internal audit reports, external assessment findings
MR-002 | Quality indicators & KPIs | KPI dashboard, trend analysis
MR-003 | CAPA status & effectiveness | CAPA register, effectiveness check results
MR-004 | PT/EQA results | Proficiency testing reports
MR-005 | Complaints & feedback | Complaint log, patient feedback
MR-006 | Personnel competency | Competency assessment records
MR-007 | Equipment & facility status | Equipment maintenance, facility inspection
MR-008 | Document & record review | Document control register
MR-009 | Risk assessment update | Risk register, risk assessment
MR-010 | Improvement opportunities | Improvement suggestions, projects
MR-011 | Previous review actions | Previous management review minutes
MR-012 | Resource needs | Staffing, equipment, facility needs
QUALITY INDICATORS & KPIs
KPI ID | Indicator | Target | Current Value | Status | Trend | Notes
KPI-001 | Turnaround Time - Routine | ≤ 4 hours
KPI-002 | Turnaround Time - STAT | ≤ 1 hour
KPI-003 | Sample Rejection Rate | ≤ 2%
KPI-004 | Critical Value Reporting Time | ≤ 30 minutes
KPI-005 | PT/EQA Pass Rate | 100%
KPI-006 | Document Review Compliance | 100%
KPI-007 | Competency Assessment Completion | 100%
KPI-008 | CAPA Closure Rate | ≥ 90%
KPI-009 | Equipment Calibration Compliance | 100%
KPI-010 | Internal Audit Schedule Compliance | ≥ 95%

## Standards Crosswalk
STANDARDS CROSSWALK — DOMAIN MAPPING
Domain | ISO 15189 Relevance | CAP Relevance | JCI Relevance | AABB Relevance | Notes
Quality Management System | Clauses 4-8: QMS requirements | CAP All Common Checklist | GLD.1, GLD.2 | AABB QMS requirements
Document Control | Clause 8.4: Document control | CAP document control requirements | GLD.1.1, GLD.1.2 | AABB document control
Personnel Competency | Clause 6.2: Personnel | CAP personnel requirements | SQE.1, SQE.2 | AABB personnel competency
Equipment & Instrumentation | Clause 7.1: Equipment | CAP equipment requirements | FMS.8 | AABB equipment
Method Validation | Clause 7.2: Validation | CAP method validation | — | —
Sample Management | Clause 7.2: Pre-examination | CAP pre-analytical | PFR.1 | AABB sample management
Quality Control | Clause 7.3: Quality control | CAP QC requirements | QPS.3 | AABB QC
PT/EQA | Clause 7.3: External QC | CAP PT requirements | QPS.2 | AABB PT/EQA
Information Management | Clause 8: Information management | CAP LIS requirements | GLD.3 | —
Facility & Safety | Clause 7.1.4: Environment | CAP safety requirements | FMS.1-FMS.7 | AABB safety
Transfusion Medicine | Clause 7.2: Transfusion | CAP transfusion | — | AABB transfusion
CAPA & RCA | Clause 7.10: Nonconforming work | CAP CAPA requirements | QPS.7 | AABB CAPA
Internal Audit | Clause 8.8: Evaluation & audit | CAP inspection requirements | QPS.6 | AABB audit
Management Review | Clause 8.9: Management review | CAP management requirements | GLD.4 | AABB management review
Risk Management | Clause 8.5: Risk management | CAP risk management | QPS.1 | AABB risk management
Point-of-Care Testing | Clause 7.2.2: POCT | CAP POCT requirements | PCF.1-PCF.7 | AABB POCT
Infection Control | Clause 7.1.4: Safety | CAP safety requirements | FMS.4, FMS.5 | AABB safety
Outreach & Customer Service | Clause 8.7: Communication | CAP client communication | — | AABB communication

## Lists & Calculations
STATUS_OPTIONS | SCORE_MAP |  | SEVERITY_OPTIONS | SEV_SCORE |  | LIKELIHOOD_OPTIONS | LIKE_SCORE |  | PHASE_OPTIONS | DOMAIN_OPTIONS | CAPA_STATUS | EVIDENCE_STATUS
Compliant | Compliant | 1 | Critical | Critical | 5 | Almost Certain | Almost Certain | 5 | Assess | Quality Management System | Not Started | Current
Partial | Partial | 0.5 | High | High | 4 | Likely | Likely | 4 | Prioritize | Document Control | In Progress | Needs Update
Non-Compliant | Non-Compliant | 0 | Medium | Medium | 3 | Possible | Possible | 3 | Improve | Personnel Competency | Complete | Missing
Not Applicable | Not Applicable | N/A | Low | Low | 2 | Unlikely | Unlikely | 2 | Sustain | Equipment & Instrumentation | Verified
[6 empty] | Rare | Rare | 1 |  | Method Validation & Verification | Overdue
Sample Management
Examination Procedures
Quality Control
External Quality Assessment (PT/EQA)
Information Management (LIS)
Facility & Safety
Transfusion Medicine
CAPA & Root Cause Analysis
Internal Audit
Management Review
Pre-analytical Phase
Analytical Phase
Post-analytical Phase
Report & Records
Ethics & Confidentiality
Risk Management
Point-of-Care Testing (POCT)
Infection Control
Outreach & Customer Service

## Sources & Disclaimer
SOURCES & DISCLAIMER
STANDARDS REFERENCED
• ISO 15189:2022 — Medical laboratories — Requirements for quality and competence (general concepts only)
• CAP Accreditation Program — College of American Pathologists (public framework information)
• JCI Accreditation Standards for Hospitals — Joint Commission International (public framework information)
• AABB Standards — Association for the Advancement of Blood & Biotherapies (public framework information)
DISCLAIMER
This toolkit is an independent readiness preparation tool provided by AHQS (Accelerate Healthcare Quality Solutions). It does not reproduce proprietary accreditation standard text. Audit questions are general readiness prompts based on publicly available concepts from ISO 15189, CAP, JCI, and AABB frameworks. This toolkit does not constitute accreditation, certification, legal advice, or a guarantee of accreditation outcomes. Accreditation and certification decisions remain with the applicable authorized organizations. Users should refer to the official standards documents published by the respective accreditation bodies for complete and current requirements. AHQS provides independent quality-improvement and accreditation-readiness consulting. Use of this toolkit does not create a consulting engagement. Any paid engagement begins only after a written scope, timeline, and professional fee proposal has been approved.
© 2026 Accelerate Healthcare Quality Solutions (AHQS). All rights reserved.
Contact: info@ahqshealthcare.com ¦ +1 (984) 317-3711 ¦ ahqshealthcare.com